## Slide 1: Automated Testing Strategy
Qblox Assignment – Example: NI USB-6000

## Slide 2: Introduction
NI USB-6000: a data acquisition device that allows users to measure and analyze analog and digital signals in a variety of applications
Benefits of automated testing:
  Consistency
  Speed
  Coverage
  Repeatability
  Error Reduction

## Slide 3: Test Strategy
The test strategy for the device includes the following:
Unit Testing
  Testing of individual analog and digital input/output channels
  Verification of proper signal levels
Integration Testing
  Testing communication between the device and host software
Compatibility Testing
  Testing of the device with different platforms and configurations
Performance Testing
  Testing of the device speed, accuracy and responsiveness
Stress Testing
  Testing the device under varying input/output loads and its performance under extreme conditions or loads
Regression Testing
  Testing that changes made to the device don’t affect existing functionalities

## Slide 4: Test System Architecture
The system architecture for automated testing should include the following components/parts:
Hardware
  The USB-6000 device, a laptop, power-supply, test fixtures (i.e. breadboard, resistors, …) and data acquisition systems
Software
  Host software for device control and data acquisition, device drivers, test scripts and automation software for testing
Environment
  Controlled temperature and humidity
Execution
  Configuration of hardware and software components, the automation software will run the various tests under different loads and collect data for reporting
Reporting
  Collection of test results and aggregation of issues, performance improvements, and so on.

## Slide 5: Conclusions
The test strategy illustrated before will ensure the quality of the product before it’s shipped to customers.
Automating tests on a device ensures consistent quality since each device is tested the same way as the previous one.
Automating tests can help with
  Reducing costs associated with manual testing
  Faster time-to-market
  Improved customer satisfaction